LEGAL DESCRIPTION
TRACT C1 AS DESCRIBED IN INSTRUMENT #2008000214201 RECORDED IN THE OFFICIAL RECORDS OF LEE COUNTY, FLORIDA

SHEET INDEX	
SHEET NUMBER	SHEET DESCRIPTION	
1	COVER SHEET	
2	QUAD MAP	
3	QUAD 1	
4	QUAD 2	
5	QUAD 3	
6	QUAD 4	

2021 ASSESSMENT

CONSTRUCTION PLAN PLANS FOR
VILLAGEWALK LAKE BANK
PART OF SECTION 3, TOWNSHIP 48S, RANGE 26E, LEE COUNTY, FLORIDA
PREPARED FOR/OWNED BY:
VILLAGEWALK OF BONITA SPRINGS HOMEOWNERS ASSOCIATION, INC.
15291 LATITUDE DRIVE, SUITE #100 BONITA SPRINGS, FL 34135
(239) 949-9909

BONITA GRANDE DR

PROJECT LOCATION

PROJECT SITE

BONITA BEACH ROAD

QUAIL WEST GOLF &
COUNTRY CLUB

No.:	DATE:

REVISIONS
DESCRIPTION:

APPROVED:

PROPERTY IDENTIFICATION
SHEET NUMBER:
03-48-26-B3-013C1.CE

PROJECT LOCATION
N.T.S.

PROJECT SITE
N.T.S.

DATE:

6610 Willow Park Drive Suite 200
Naples, FL 34109
12800 University Drive
Suite 175
Fort Myers, FL 33907
19503 S West Villages Pkwy Unit A5
Venice, FL 34293
Office: (239) 597-0575
Fax: (239) 597-0578
www.consult-rwa.com
Florida Certificates of Authorization
EB 7663 LB 6952

PROJECT No.:

ENGINEER'S SEAL:

MICHAEL C. PAPPAS, P.E., STATE OF FLORIDA LICENSE NO. 60910 RWA, INC.
STATE OF FLORIDA BUSINESS CERTIFICATE NO. EB-0007663

SHEET No.:

ELEVATIONS BASED ON NORTH AMERICAN VERTICAL DATUM NAVD88. CONVERSION FROM NAVD88 TO NGVD29: NAVD88 +1.22=NGVD29.

June 29, 2021 1:49 PM K:\2005\050018.00.11 Village Walk CDD (20-21)\2021-06-06 Lake Bank Inspection\Current Plans\Sheet Files\Cover Sheet.dwg

JULY., 2021

1	OF     6

III

IV

BONITA BEACH ROAD

OCEANA DR

II

VILLAGE WALK CIRCLE

PISCES LN

QUIET WATER WAY

40

53	54

I

51

37

31
35
39
36	30

50
52

46	48

0	300	600
Feet

LEGEND

32	43	45	49
38
28

LAKE AREA

1	LAKE SECTION

IV	QUADRANT

44

33

34	29

27
26	41

42	47

ESTUARY CIR

INSULAR WAY

JEWEL FISH LN

KIPPER LN

JENEVA WAY

LAUGHING GULL LN

VILLAGE WALK CIRCLE

KOI WAY

VILLAGE WALK CIRCLE

LATITUDE DR

HAMMERHEAD LN

1	3

GUINIVERE WAY

2	4

16
20
19
6
5

21
9
18
15	14
8

25	22	7
12
17	11

YELLOW FIN TRAIL

TREVALLY WAY

23	10

ZAMORA CT

XENON WAY

WAHOO DR

VERMILLION LN

24	13

VILLAGE WALK CIRCLE

CLIENT:

TITLE:

VILLAGE WALK OF BONITA SPRINGS COMMUNITY DEVELOPMENT DISTRICT
2021 LAKE BANK ASSESSMENT EXHIBIT

PROJECT:

VILLAGE WALK OF BONITA SPRINGS LAKE BANK EXHIBIT

PROJECT NO.:	FILE NAME:
050018.00.11	02 Lake Bank Exhibit-06-18-21

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

0	150	300
Feet

Legend

Report Item Number

Extend Pipe to Low Water Level

Recurring Erosion

Washout with Drop > 9"

Report Item Number - SAFETY

Lake Section Compliant and Stablized

CLIENT:

TITLE:

VILLAGE WALK OF BONITA SPRINGS COMMUNITY DEVELOPMENT DISTRICT
2021 LAKE BANK ASSESSMENT EXHIBIT

PROJECT:

VILLAGE WALK OF BONITA SPRINGS LAKE BANK EXHIBIT

98

Washout

Erosion

Blowout

98

Rills

PROJECT NO.:	FILE NAME:
050018.00.11	02 Lake Bank Exhibit-06-18-21

23

25

24

26

27

28

29

30

0	150	300

98

98

Feet

Legend

Report Item Number

Washout

Extend Pipe to Low Water Level

Erosion

Blowout

Recurring Erosion

Washout with Drop > 9"

Report Item Number - SAFETY

Rills

Lake Section Compliant and Stablized

CLIENT:

TITLE:

VILLAGE WALK OF BONITA SPRINGS COMMUNITY DEVELOPMENT DISTRICT
2021 LAKE BANK ASSESSMENT EXHIBIT

PROJECT:

VILLAGE WALK OF BONITA SPRINGS LAKE BANK EXHIBIT

PROJECT NO.:
050018.00.11

FILE NAME:

02 Lake Bank Exhibit-06-18-21

71

70

69

68

67

60

65

64

63

62

61

59

58

51

57

56

55

54

53

52

50

49

48

47

46

45

44

43

42

41

40

38

39

37

36

35

34

33

32

31

0	150	300

98

Feet

Sheet 5 of 6

Legend

Report Item Number

Extend Pipe to Low Water Level

Recurring Erosion

Washout with Drop > 9"

Report Item Number - SAFETY

Lake Section Compliant and Stablized

Pool Overflow Causing Washout

CLIENT:

TITLE:

VILLAGE WALK OF BONITA SPRINGS COMMUNITY DEVELOPMENT DISTRICT
2021 LAKE BANK ASSESSMENT EXHIBIT

PROJECT:

VILLAGE WALK OF BONITA SPRINGS LAKE BANK EXHIBIT

Washout

Erosion

Blowout

98

Rills

DDiVincenzo
2021-07-08 20:27:45
-------------------------------------------- EXTEND ROOF DRAIN

PROJECT NO.:
050018.00.11

FILE NAME:

02 Lake Bank Exhibit-06-18-21

97

93

91

90

86

85

84

79

78

77

76

75

74

73

72

0	150	300
Feet

Sheet 6 of 6

Legend

Report Item Number

Washout

Extend Pipe to Low Water Level

Erosion

Blowout

Recurring Erosion

Washout with Drop > 9"

Report Item Number - SAFETY

Rills

Lake Section Compliant and Stablized

CLIENT:

TITLE:

VILLAGE WALK OF BONITA SPRINGS COMMUNITY DEVELOPMENT DISTRICT
2021 LAKE BANK ASSESSMENT EXHIBIT

PROJECT:

VILLAGE WALK OF BONITA SPRINGS LAKE BANK EXHIBIT

98

98

DDiVincenzo
2021-07-08 18:15:04
-------------------------------------------- WASHOUT

PROJECT NO.:	FILE NAME:
050018.00.11	02 Lake Bank Exhibit-06-18-21